## Sample-Methods Worksheet
Sample and Age Data
General Comments on Table: | Cells in yellow are required
You may add more "Additional Analysis Purposes and Ages" as needed.
For convienience we have prepopulate values from Steiger and Jager (1977) and Spadavecchia and Hahn (1967)
Item | Value | Value Type | Units |  | Comment
General Information about host sample
Sample Name |  | text string |  | The sample name refers to the primary sample for which positional, lithologic and other metadata were established
IGSN |  | text string |  | Unique Identity obstained from geosamples.org
Laboratory |  | text string |  | Laboratory in which the experiment was conducted
Analyst |  | text string |  | Investigator conducting the experiment
Mineral |  | text string
Dosimeter Glass |  | text string |  |  |  | 14.9
Dosimeter Glass U ppm |  | numeric | ppm
Irradiation |  | text string |  |  |  | 1.469
Count Date |  | text string
Locality |  | text string
Rock Type |  | text string
Rock Age |  | text string |  | This is useful for detrital samples
Acquisition system |  | text string |  | Microscope type, stage type, etc.
Magnification |  | text string
Radiation Facility |  | text string
Total Thermal Neutron Fluence |  | text string
Position in Irradiation Canister (#) |  | numeric
Area of Graticule Square |  | numeric
No. of Crystals Counted |  | numeric
Zeta Factor |  | numeric
Zeta Factor Error (1s) |  | numeric | (1-sigma)
Rho d |  | numeric
Rho d (% Relative Error) |  | numeric
N d |  | numeric
Geometry factor (for EDM and Zeta ICPMS methods) |  | numeric |  | For spontaeous tracks counted on (polished) internal grain surface
Etchant |  | text string
Etching Conditions |  | text string
Method - U |  | text string |  | Method used to determine U concentration
ICPMS Model |  | text string
Laser Model and Type |  | text string
Instrumental Method References |  | text string |  | Reference for U analysis method
U Calibration Standard |  | text string
U ppm of Standard |  | numeric | ppm
Specific Denisty of Dated Mineral |  | numeric | g/cm^2
Avagadro Constant |  | numeric | mol^-1
Registration Factor (Rsp) |  | numeric | µm
Etching Correction Factor (k) |  | numeric
ICPMS Zeta Standard |  | text string
Standard Age |  | numeric
Standard Age Error |  | numeric | Ma, 1-sigma
Primary Zeta |  | numeric
1 sigma Uncertainty |  | numeric
Session (Modified) Zeta |  | numeric
1 sigma (Modified) Uncertainty |  | numeric | 0.23074
Comment |  | text string |  | Text string accommodating a description of any aspect of the sample or experiment
Grain Chemistry Parameters
Chemistry Method |  | text string
Chemistry Laboratory |  | text string
Chemistry Comment |  | text string |  | Text string accommodating a description of any aspect of the sample or experiment
Decay Constant Parameters
238U Decay Constant | 1.55125E-10 | numeric | yr-1
238U Decay Constant Error |  | numeric | % 1-sigma
235U Decay Constant | 9.84850E-10 | numeric | yr-1
235U Decay Constant Error |  | numeric | % 1-sigma
232Th Decay Constant | 4.94750E-11 | numeric | yr-1
232Th Decay Constant Error |  | numeric | % 1-sigma
Spontaneous Fission Decay Constant | 8.46E-17 | numeric | yr-1
Spontaneous Fission Decay Constant Error |  | numeric | % 1-sigma
238U/235U | 137.88 | numeric | yr-1
Fission Decay Constant Reference | Spadavecchia , A. & Hahn, B. (1967). Die Rotationskammer und einige Anwendungen. Helvetica Physica Acta, 40, p. 1063-1079 | text string
Decay Constant References | Steiger, R.H. and Jager, E., 1977, Subcommission on geochronology: Convention on the use of decay constants in geo- and cosmochronology. Earth and Planetary Science Letters, v. 36, no. 3, p. 359-362 | text string
Decay Constant Comment |  | text string
Interpreted Sample Age Information
Analysis Purpose |  | text string |  | Purpose for doing the analysis include (DetritalSpectrum,SingleAge, Cooling, Crystallization,Metamorphic, Recrystallization, Inheritence, Shock, Hydrothermal, Diagenetic, TimeScaleCalibration, Other)
Preferred Age Type |  | text string |  | The preferred Age Type for the experiment as intrepreted and stated by the author; Age Types include pooled, central, mean crystal, binomial, and other
Pooled Age |  | numeric | Ma | The pooled age for the experiment as intrepreted and stated by the author
Pooled Age Error +95% |  | numeric | Ma, absolute 1-sigma | The error on the pooled age
Pooled Age Error -95% |  | numeric | Ma, absolute 1-sigma | The error on the pooled age
Chi-squared Value |  | numeric
Degrees of Freedom |  | numeric |  | Number of Grains counted -1
P (Chi-squred) |  | numeric | %
Mean Crystal Age |  | numeric | Ma | The mean crystal age for the experiment as intrepreted and stated by the author
Mean Crystal Age Error +95% |  | numeric | Ma, absolute | The error on the Mean Crystal age
Mean Crystal Age Error -95% |  | numeric | Ma, absolute | The error on the Mean Crystal age
Central Age |  | numeric | Ma | The central age for the experiment as intrepreted and stated by the author
Central Age Error +95% |  | numeric | Ma, absolute | The error on the central age
Central Age Error -95% |  | numeric | Ma, absolute | The error on the central age
Central Age - Age Dispersion (%) |  | numeric | % | The age dispersion (in %) of the central age
Binomial Age |  | numeric | Ma | The binomila age for the experiment as intrepreted and stated by the author
Binomial Age Error +95% |  | numeric | Ma, absolute | The error on the binomial age
Binomial Age Error -95% |  |  | Ma, absolute
Other Age |  | numeric | Ma | The age for the experiment computed by other means as intrepreted and stated by the author
Other Age Error |  | numeric | Ma, absolute 2-sigma | The error on the other age
Preferred Age Explanation |  | text string |  | A text string describing the details of the preferred age interpretation
Age Reference |  | text string |  | Published reference for the age of the sample
Additional Analysis Purpose |  | text string |  | Same as analysis purpose
Additional Age Type |  | text string |  | The Age Type for the experiment as intrepreted and stated by the author; Age Types include pooled, central, mean crystal, binomial, and other
Pooled Age |  | numeric | Ma | The pooled age for the experiment as intrepreted and stated by the author
Pooled Age Error +95% |  | numeric | Ma, absolute 1-sigma | The error on the pooled age
Pooled Age Error -95% |  | numeric | Ma, absolute 1-sigma | The error on the pooled age
Chi-squared Value |  | numeric
Degrees of Freedom |  | numeric |  | Number of Grains counted -1
P (Chi-squred) |  | numeric | %
Mean Crystal Age |  | numeric | Ma | The mean crystal age for the experiment as intrepreted and stated by the author
Mean Crystal Age Error +95% |  | numeric | Ma, absolute | The error on the Mean Crystal age
Mean Crystal Age Error -95% |  | numeric | Ma, absolute | The error on the Mean Crystal age
Central Age |  | numeric | Ma | The central age for the experiment as intrepreted and stated by the author
Central Age Error +95% |  | numeric | Ma, absolute | The error on the central age
Central Age Error -95% |  | numeric | Ma, absolute | The error on the central age
Central Age - Age Dispersion (%) |  | numeric | % | The age dispersion (in %) of the central age
Binomial Age |  | numeric | Ma | The binomila age for the experiment as intrepreted and stated by the author
Binomial Age Error +95% |  | numeric | Ma, absolute | The error on the binomial age
Binomial Age Error -95% |  | numeric | Ma, absolute | The error on the binomial age
Other Age |  | numeric | Ma | The age for the experiment computed by other means as intrepreted and stated by the author
Other Age Error |  | numeric | Ma, absolute 2-sigma | The error on the other age
Additional Age Explanation |  | text string |  | A text string describing the details of the age interpretation
Age Reference |  | text string |  | Published reference for the age of the sample
Additional Analysis Purpose |  | text string |  | Same as analysis purpose
Additional Age Type |  | text string |  | The Age Type for the experiment as intrepreted and stated by the author; Age Types include pooled, central, mean crystal, binomial, and other
Pooled Age |  | numeric | Ma | The pooled age for the experiment as intrepreted and stated by the author
Pooled Age Error +95% |  | numeric | Ma, absolute 1-sigma | The error on the pooled age
Pooled Age Error -95% |  | numeric | Ma, absolute 1-sigma | The error on the pooled age
Chi-squared Value |  | numeric
Degrees of Freedom |  | numeric |  | Number of Grains counted -1
P (Chi-squred) |  | numeric | %
Mean Crystal Age |  | numeric | Ma | The mean crystal age for the experiment as intrepreted and stated by the author
Mean Crystal Age Error +95% |  | numeric | Ma, absolute | The error on the Mean Crystal age
Mean Crystal Age Error -95% |  | numeric | Ma, absolute | The error on the Mean Crystal age
Central Age |  | numeric | Ma | The central age for the experiment as intrepreted and stated by the author
Central Age Error +95% |  | numeric | Ma, absolute | The error on the central age
Central Age Error -95% |  | numeric | Ma, absolute | The error on the central age
Central Age - Age Dispersion (%) |  | numeric | % | The age dispersion (in %) of the central age
Binomial Age |  | numeric | Ma | The binomila age for the experiment as intrepreted and stated by the author
Binomial Age Error +95% |  | numeric | Ma, absolute | The error on the binomial age
Binomial Age Error -95% |  | numeric | Ma, absolute | The error on the binomial age
Other Age |  | numeric | Ma | The age for the experiment computed by other means as intrepreted and stated by the author
Other Age Error |  | numeric | Ma, absolute 2-sigma | The error on the other age
Additional Age Explanation |  | text string |  | A text string describing the details of the age interpretation
Age Reference |  | text string |  | Published reference for the age of the sample
DetritalSpectrum | Pooled
SingleAge | Central
Cooling | Mean Crystal
Crystallization | Binomial
Metamorphic | Other
Recrystallization
Inheritence
Shock
Hydrothermal
Diagenetic
TimeScaleCalibration
Other

## Age Worksheet
Grain Data
General Comments on Table: | You may add additional parameters for each grain
Added paramaters must include units
Unused columns may be deleted
Column names must remain unchanged
Grain ID | N s | N i | Na | Dpar | Dper | Rmr0 | Rho s | Rho i | Rho s / Rho i | Area (Ω) | Number of Etch Figures (Dpar, Dper) Measured | 238U/43Ca | error (1σ) | U ppm | U error (1s) | Age (Ma) | Age Error +1s | Age Error -1s | CaO | P2O5 | F | Cl | SrO | BaO | SiO2 | Na2O | CeO2 | FeO | Total
Units (if needed) | [18 empty] | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. %

## Length Worksheet
Track Length Data
General Comments on Table: | If track length data are entered, it is recommended that as many parameters as possible are populated
Grain ID | Length | Angle to C axis | Dpar | Tint or Tincle | Depth | Width | Probability of this being a confined length | Number of times Intersected